## RM
#VALUE!
CLSI EP15-A3 (Ed4). Bias Estimation using Certified reference material
nRun: Number of runs
| Experiment Design |  | Reference Material |  | Lab Data |  | nRep: Number of replicates per run (If missed data, average nuber of replicates per run)
0 | nRun |  | Target Value |  | Mean |  | nSam: Number of samples
1 | nRep | 5 | uRM |  | sR or σR |  | Decimal: Number of Decimal places for rounding the calculations
2 | nSam |  | dfRM | ∞ | sWL or σWL |  | Biasa: Allowable bias (Enter in the measuremen unit)
3 | Decimal | [5 empty] | seRM and dfRM: Standard error and degree of freedom for reference material
4 | Biasa (Unit) |  |  |  | Bias (Unit) |  | sR or σR: Lab estimate or manufacturer's claim for repeatability
5 |  |  |  |  | %Bias |  | sWL or σWL: Lab estimate or manufacturer's claim for within lab/device imprecision
6 |  | Verification Interval |  |  |  |  | If u or uc are presented: seRM = u or uc
7 | [6 empty] | If U is presented: seRM = U/k K = 1.96 for 95%, k = 2.58 for 99%
|  | Ubias |  |  |  |  | If CI is presented: seRM = (UL - LL)/k' K' = 3.92 for 95%, k' = 5.16 for 99%
Ubias: Expanded uncertainty of bia
| Interpretation: | [5 empty] | Hassan Bayat. Sina Clinical Lab. Qaem Shahr, Iran
`
|  |  | Confidence | 0.95
|  |  | nSam realted Conf | #DIV/0!
[5 empty] | seGM | #DIV/0! | #DIV/0!
[5 empty] | seC | #DIV/0!
[5 empty] | dfC | #DIV/0!
[5 empty] | m | #DIV/0!
[5 empty] | m*seC | #DIV/0!
[5 empty] | VI | #DIV/0!
#DIV/0!
[5 empty] | dfGM | -1
[5 empty] | sWL | 0
[5 empty] | seGM | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | seC | #DIV/0!
[5 empty] | dfC | #DIV/0!
[5 empty] | m | #DIV/0!
[5 empty] | m*seC | #DIV/0!
[5 empty] | VI | #DIV/0!
#DIV/0!
Note on M28: Roja: Checking calculations correctness
Note on K38: Roja: Upper limit for seGM
Note on M38: Roja: Lower limit for seGM
Note on O38: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on P38: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on J44: Roja: Calculated based on dfGM and sWL

## PT-Peer Group
CLSI EP15-A3 (Ed4). Bias Estimation using EQA/PT/Peer Group material
nRun: Number of runs
|  | Experiment Design |  | Reference Material |  | Lab Data |  | nRep: Number of replicates per run (If missed data, average nuber of replicates per run)
0 |  | nRun |  | TV |  | Mean |  | nSam: Number of samples
1 |  | nRep | 5 | nLAB |  | sR or σR |  | Decimal: Number of Decimal places for rounding the calculations
2 |  | nSam |  | SDGroup |  | sWL or σWL |  | Biasa: Allowable bias (Enter in the measuremen unit)
3 |  | Decimal |  | uRM |  |  |  | seRM and dfRM: Standard error and degree of freedom for reference material
4 |  | Biasa (Unit) |  | dfRM |  | Bias (Unit) |  | sR or σR: Lab estimate or manufacturer's claim for repeatability
5 | [5 empty] | %Bias |  | sWL or σWL: Lab estimate or manufacturer's claim for within lab/device imprecision
6 |  |  | Verification Interval |  |  |  |  | Ubias: Expanded uncertainty of bia
7
Ubias
|  | Interpretation: | [5 empty] | Hassan Bayat. Sina Clinical Lab. Qaem Shahr, Iran
| Confidence | 0.95 |  |  | seGM | #DIV/0! | #DIV/0!
| nSam realted Conf | #DIV/0! |  |  | seC | #VALUE!
[5 empty] | dfC | #DIV/0!
[5 empty] | m | #DIV/0!
[5 empty] | m*seC | #DIV/0!
[5 empty] | VI | #DIV/0!
#DIV/0!
[5 empty] | dfGM | -1
[5 empty] | sWL | 0
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
#VALUE!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! |  | 0
Note on J22: Roja: The numerator is squared, because it seems that it must be squared.
Note on J32: Roja: Also upper limit for seGM
Note on K32: Roja: Lower limit for seGM
Note on N32: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on M39: Roja: Lower limit for seGM caculated from manufacturer's claim

## Commercial QC
CLSI EP15-A3 (Ed4). Bias Estimation using Commercial QC material
nRun: Number of runs
|  | Experiment Design |  | Reference Material |  | Lab Data |  |  | nRep: Number of replicates per run (If missed data, average nuber of replicates per run)
0 |  | nRun |  | TV |  | Mean |  |  | nSam: Number of samples
1 |  | nRep | 5 | uRM | 0 | sR or σR |  |  | Decimal: Number of Decimal places for rounding the calculations
2 |  | nSam |  | dfRM | ∞ | sWL or σWL |  |  | Biasa: Allowable bias (Enter in the measuremen unit)
3 |  | Decimal | [6 empty] | seRM and dfRM: Standard error and degree of freedom for reference material
4 |  | Biasa (Unit) |  |  |  | Bias (Unit) |  |  | sR or σR: Lab estimate or manufacturer's claim for repeatability
5 | [5 empty] | %Bias |  |  | sWL or σWL: Lab estimate or manufacturer's claim for within lab/device imprecision
6 |  |  | Verification Interval | [5 empty] | Ubias: Expanded uncertainty of bia
7
Ubias
|  | Interpretation: | [6 empty] | Hassan Bayat. Sina Clinical Lab. Qaem Shahr, Iran
[10 empty] | dfGM | -1
[10 empty] | sWL | 0
| Confidence | 0.95 |  |  |  |  | seGM | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| nSam realted Conf | #DIV/0! |  |  |  |  | seC | #DIV/0! |  | #DIV/0!
[7 empty] | dfC | -1 |  | -1
[7 empty] | m | #DIV/0! |  | #DIV/0!
[7 empty] | m*seC | #DIV/0! |  | #DIV/0!
[6 empty] | VI | #DIV/0!
[7 empty] | #DIV/0! |  |  | #DIV/0!
#DIV/0!
Note on P23: Roja: Lower limit for seGM
Note on R23: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on S23: Roja: Lower limit for seGM caculated from manufacturer's claim

## Spiked
CLSI EP15-A3 (Ed4). Bias Estimation using Spiked material
nRun: Number of runs
| Experiment Design |  | Reference Material |  |  | Lab Data |  | nRep: Number of replicates per run (If missed data, average nuber of replicates per run)
0 | nRun |  | TV |  |  | Mean |  | nSam: Number of samples
1 | nRep | 5 | uRM | 0 |  | sR or σR |  | Decimal: Number of Decimal places for rounding the calculations
2 | nSam |  | dfRM | ∞ |  | sWL or σWL |  | Biasa: Allowable bias (Enter in the measuremen unit)
3 | Decimal | [6 empty] | seRM and dfRM: Standard error and degree of freedom for reference material
4 | Biasa (Unit) |  |  |  |  | Bias (Unit) |  | sR or σR: Lab estimate or manufacturer's claim for repeatability
5 | [5 empty] | %Bias |  | sWL or σWL: Lab estimate or manufacturer's claim for within lab/device imprecision
6 |  | Verification Interval | [5 empty] | Ubias: Expanded uncertainty of bia
7
Ubias
| Interpretation: | [6 empty] | Hassan Bayat. Sina Clinical Lab. Qaem Shahr, Iran
| Confidence | 0.95
| nSam realted Conf | #DIV/0!
[5 empty] | seGM | #DIV/0! | #DIV/0!
[5 empty] | seC | #DIV/0!
[5 empty] | dfC | -1
[5 empty] | m | #DIV/0!
[5 empty] | m*seC | #DIV/0!
[5 empty] | VI | #DIV/0!
#DIV/0!
[5 empty] | dfGM | -1
[5 empty] | sWL | 0
[6 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
-1
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Note on K39: Roja: Lower limit for seGM
Note on M39: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on N39: Roja: Lower limit for seGM caculated from manufacturer's claim

## Conventional
CLSI EP15-A3 (Ed4). Bias Estimation using material with Conventional Target
nRun: Number of runs
| Experiment Design |  | Reference Material |  |  | Lab Data |  |  | nRep: Number of replicates per run (If missed data, average nuber of replicates per run)
0 | nRun |  | TV |  |  | Mean |  |  | nSam: Number of samples
1 | nRep | 5 | uRM | 0 |  | sR or σR |  |  | Decimal: Number of Decimal places for rounding the calculations
2 | nSam |  | dfRM | ∞ |  | sWL or σWL |  |  | Biasa: Allowable bias (Enter in the measuremen unit)
3 | Decimal | [7 empty] | uRM and dfRM: Standard error and degree of freedom for reference material
4 | Biasa (Unit) |  |  |  |  | Bias (Unit) |  |  | sR or σR: Lab estimate or manufacturer's claim for repeatability
5 | [5 empty] | %Bias |  |  | sWL or σWL: Lab estimate or manufacturer's claim for within lab/device imprecision
6 |  | Verification Interval | [6 empty] | Ubias: Expanded uncertainty of bia
7
Ubias
| Interpretation: | [7 empty] | Hassan Bayat. Sina Clinical Lab. Qaem Shahr, Iran
| Confidence | 0.95
| nSam realted Conf | #DIV/0!
[5 empty] | seGM | #DIV/0! | #DIV/0!
[5 empty] | seC | #DIV/0!
[5 empty] | dfC | -1
[5 empty] | m | #DIV/0!
[5 empty] | m*seC | #DIV/0!
[5 empty] | VI | #DIV/0!
#DIV/0!
|  |  | dfGM | -1
|  |  | sWL | 0
|  |  |  | #DIV/0! | #DIV/0! |  | #REF! | #REF!
#DIV/0!
-1
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Note on I32: Roja: Lower limit for seGM
Note on K32: Roja: Lower limit for seGM caculated from manufacturer's claim
Note on L32: Roja: Lower limit for seGM caculated from manufacturer's claim