## Verification
Drawing average for runs
|  |  | Claims |  |  | Estimates | [8 empty] | 0 | 0
|  | Level |  |  |  | SD | %CV | UVL | Status |  | N |  | EP 15-A3 (Ed4)
|  | σR (%CV) |  |  | SR | [5 empty] | nRun |  |  |  | 0 | 0
|  | σWL (%CV) |  |  | SWL | [5 empty] | nRep |  | Verification of Imprecisin
[5 empty] | SB | [5 empty] | Mean |  |  |  | 0 | 0 |  |  | List for data entry into E7 and E8
|  | nSam | [8 empty] | Min | [7 empty] | 0 | [7 empty] | DM2
|  | Decimal | [8 empty] | Max |  |  |  | 0 | 0 |  |  | 1
|  | %CVa | [16 empty] | 2
3
4
|  | Rep 1 | Rep 2 | Rep 3 | Rep 4 | Rep 5 | [8 empty] | 0 | 0 |  |  | 5 | [6 empty] | 1 | 2 | 3 | 4 | 5
| Run 1 | [6 empty] | 1 | 2 | 3 | 4 | 5 | [6 empty] | 6 | [5 empty] | 1
| Run 2 | [6 empty] | 6 | 7 | 8 | 9 | 10 |  |  | 0 | 0 | [8 empty] | 2
| Run 3 | [6 empty] | 11 | 12 | 13 | 14 | 15 | [12 empty] | 3
| Run 4 | [6 empty] | 16 | 17 | 18 | 19 | 20 |  |  | 0 | 0 | [8 empty] | 4
| Run 5 | [6 empty] | 21 | 22 | 23 | 24 | 25 | [12 empty] | 5
| Run 6 | [6 empty] | 26 | 27 | 28 | 29 | 30 | [12 empty] | 6
| Run 7 | [6 empty] | 31 | 32 | 33 | 34 | 35 | [12 empty] | 7
Hassan Bayat. Sina Medical Lab (Qaem Shahr, Iran). January 2020
|  | #DIV/0! | [12 empty] | 0 | 0
5
| ρ | 5
| k | 25 |  |  |  | ρ (the claims ratio, σWL / σR | [14 empty] | N | 0
| n | 5 | [11 empty] | SD | VAR | n | n2 |  | DM2.n | for k | k | 0
| N | 1 | [18 empty] | Mean | #DIV/0!
| n0 | 1 | [18 empty] | Min | 0
| Mean | #DIV/0! | [18 empty] | Max | 0
| %CV-R | 0.0001 | [18 empty] | SStotal | 0
| %CV-WL | #DIV/0! | [18 empty] | SS1 | 0
| V-W | #DIV/0! | [18 empty] | SS2 | 0
| V-WL | #DIV/0! |  | a1 | 0.2 |  |  | DF-WL | #DIV/0! | [11 empty] | DFtotal | -1
| V-B | 0.0001 |  | a2 | 0.8 |  |  | C | #DIV/0! | [6 empty] | #DIV/0! | 0 |  | 0 | 0 | DF1 | -1
| MS1 | 4 |  | num | #DIV/0! |  |  | F | #DIV/0! | [6 empty] | avg.n | SN2 |  | SS1 | k | DF2 | 0
| MS2 | 20 |  | den1 | #DIV/0! | [10 empty] | #DIV/0! |  |  | Between |  | MS1 | 0
| DF1 |  |  | den2 | 3.2e-10 | [10 empty] | var.m |  |  |  |  | MS2 | #DIV/0!
| DF2 | [14 empty] | 0 |  |  |  |  | n0 | #DIV/0!
[16 empty] | n |  |  |  |  | dfWL | #DIV/0!
[21 empty] | CI | #DIV/0! | dfR | 0
[21 empty] | F | #DIV/0! | %CVB
[21 empty] | VW | #DIV/0! | %CVWL
[21 empty] | VB | #DIV/0!
[21 empty] | SR | #DIV/0! | %CVR | #DIV/0!
[21 empty] | SB | #DIV/0! | %CVB | #DIV/0!
[21 empty] | SWL | #DIV/0! | %CVWL | #DIV/0!
dfWL
[21 empty] | a1 | #DIV/0! | C-R | #DIV/0!
[21 empty] | a2 | #DIV/0! | F-R | #DIV/0!
[21 empty] | num | #DIV/0!
[21 empty] | den1 | #DIV/0! | C-WL | #DIV/0!
[21 empty] | den2 | #DIV/0! | VF-WL | #DIV/0!
[21 empty] | dfWL | #DIV/0!
Note on T25: Roja: For drowing average line on the graph
Note on C27: Roja: the claims ratio, σWL / σR
Note on C28: Roja: number of runs
Note on Z28: Roja: Total number of data
Note on C29: Roja: intended number of repeats per run
Note on Z29: Roja: The number of distinct runs
Note on Z30: Roja: Grand Mean
Note on Y37: Roja: k, Number of runs
Note on U42: Roja: n: intended number of replicates per run
Note on Z43: Roja: Confidence Interval
Note on Z44: Roja: Upper Verification Limit Factor
Note on Z50: Roja: Appendix B
Note on AC51: Roja: Chi(0.05/Nsam,dfR)

## Outlier
Grubbs test
| Rep 1 | Rep 2 | Rep 3 | Rep 4 | Rep 5
Run 1 | [5 empty] | Mean | Outlier Limits
Run 2 | [5 empty] | Min | Low | #DIV/0! | Digit | 0
Run 3 | [5 empty] | Max | High | #DIV/0!
Run 4 | [8 empty] | alpha | 0.01
Run 5 | [5 empty] | Note! |  |  | size | 0
Run 6 | [5 empty] | ● Only one result may be deleted from a sample. |  |  | significance value | #DIV/0!
Run 7 | [5 empty] | ● Toatly, two results may be deleted from all samples |  |  | df | -2
[9 empty] | t-crit | #DIV/0!
[9 empty] | G-crit | #DIV/0!
[9 empty] | Mean | #DIV/0!
[9 empty] | SD | #DIV/0!
[9 empty] | %CV | #DIV/0!
#DIV/0!
[9 empty] | Low | #DIV/0!
[9 empty] | UP | #DIV/0!
[9 empty] | Min | 0
[9 empty] | Max | 0

## Abbrevations
ABBREVATIONA
Level: The concentration in the manufacturer's study
σR: Manufacturer's claim for repeatability
σWL: Manufacturer's claim for within lab imprecision
nSam: Number of samples
Decimal: Number of Decimal places for rounding the calculations
%CVa: Allowable CV
sR: Lab estimate for repeatability
sWL: Lab estimate for within lab imprecision
sB: Lab estimate for between run imprecision
UVL: Upper Verification Limit
N: Total number of results
nRun: Number of runs
nRep: Number of replicates per run
Mean: Average of all the results
Min: The smallest result
Max: The largest result

## Example Data
Example Data
| Sample 1 | [5 empty] | Sample 2 | [5 empty] | Sample 3
| Rep 1 | Rep 2 | Rep 3 | Rep 4 | Rep 5 |  | Rep 1 | Rep 2 | Rep 3 | Rep 4 | Rep 5 |  | Rep 1 | Rep 2 | Rep 3 | Rep 4 | Rep 5
Run 1 | 26.6 | 25.2 | 30.2 | 27.6 | 25.6 | Run 1 | 140 | 139 | 138 | 138 | 140 | Run 1 | 606 | 627 | 621 | 606 | 620
Run 2 | 24.3 | 25.7 | 23.8 | 25.3 | 24.1 | Run 2 | 140 | 143 | 141 | 143 | 137 | Run 2 | 612 | 610 | 611 | 595 | 630
Run 3 | 26.1 | 24 | 25.4 | 26 | 24.3 | Run 3 | 140 | 138 | 136 | 141 | 136 | Run 3 | 649 | 626 | 636 | 639 | 648
Run 4 | 26.5 | 27.1 | 25.9 | 25.5 | 25.5 | Run 4 | 141 | 144 | 142 | 143 | 144 | Run 4 | 615 | 633 | 605 | 616 | 625
Run 5 | 24.5 | 26.4 | 25.8 | 26 | 25.1 | Run 5 | 139 | 140 | 141 | 138 | 141 | Run 5 | 622 | 632 | 646 | 619 | 623
| σR (%CV) | 3.3 |  |  |  |  | σR (%CV) | 1.7 |  |  |  |  | σR (%CV) | 1.7
| σWL (%CV) | 5.3 |  |  |  |  | σWL (%CV) | 2.9 |  |  |  |  | σWL (%CV) | 2.75